## Case 1 - full
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation | [6 empty] | 131I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  | Biexponential Fit Parameters |  |  | 192.5
|  | A0 (MBq) | Teff (hours) | A0 (MBq) | Teff1 (hours)
|  | 5495.91 | 30 | 5495.91 | 2
|  |  |  | Teff2 (hours) | f
|  |  |  | 30 | 0.58704
Raw A -T Data |  | Mono-exponential fit curve |  | Bi-exponential fit curve |  |  | Trapezoid Integration
Time | Measured Activity MBq | Expected Activity | (Measured -Expected)^2 | Expected Activity | (Measured -Expected)^2 |  | Trapezoid Ã
0 | 5495.91 | 5495.91 | 0 | 5495.91 | 0 |  | 7784.3832
1.42 | 5468.01 | 5318.5208 | 22347.0319 | 4168.6419 | 1688357.4485 |  | 18273.234
5.13 | 4382.79 | 4881.6145 | 248825.9113 | 2561.1069 | 3318529.2681 |  | 7585.6053
6.95 | 3953.04 | 4680.5943 | 529335.2142 | 2223.0343 | 2992919.6249 |  | 11092.1426
10.03 | 3249.65 | 4359.0841 | 1230844.0743 | 1899.8894 | 1821853.5643 |  | 8609.2188
12.78 | 3011.6 | 4090.7302 | 1164521.9285 | 1727.7614 | 1648241.6553 |  | 24130.485
21.78 | 2350.73 | 3322.7054 | 944736.1494 | 1373.8307 | 954332.3225 |  | 7680.6944
25.22 | 2114.79 | 3068.8363 | 910204.4309 | 1267.8099 | 717375.3308 |  | 6623.676
28.62 | 1781.49 | 2836.9847 | 1114069.0988 | 1171.7082 | 371833.8956 |  | 3961.5085
30.92 | 1663.3 | 2690.1595 | 1054440.4306 | 1110.9886 | 305047.9204 |  | 8824.6619
36.78 | 1348.53 | 2349.5075 | 1001955.975 | 970.2522 | 143094.1229 |  | 12450.5463
46.03 | 1343.48 | 1897.4016 | 306829.1052 | 783.5434 | 313529.022 |  | 2371.3202
47.97 | 1101.18 | 1814.2313 | 508442.1194 | 749.1975 | 123891.6564 |  | 2606.2101
50.38 | 1061.65 | 1715.9709 | 428135.7754 | 708.6202 | 124630.0316 |  | 3864.911
54.25 | 935.72 | 1569.1954 | 401291.1297 | 648.0084 | 82777.9705 |  | 3091.6043
57.62 | 899.06 | 1451.648 | 305353.5486 | 599.4665 | 89756.267 |  | 1426.1973
59.28 | 819.25 | 1397.0255 | 333824.5558 | 576.9098 | 58728.7695 |  | 7861.5075
69.78 | 678.18 | 1096.084 | 174643.7618 | 452.6343 | 50870.8822 |  | 2954.1375
74.28 | 634.77 | 987.8462 | 124662.818 | 407.9368 | 51453.2855 |  | 4020.0225
80.78 | 602.16 | 850.0925 | 61470.5174 | 351.0506 | 63055.9166 |  | 2385.657
84.95 | 542.04 | 772.0101 | 52886.2679 | 318.8061 | 49833.3863 |  | 4431.6272
93.62 | 480.25 | 631.8665 | 22987.5667 | 260.9329 | 48099.9705 |  | 2549.0093
99.28 | 420.46 | 554.4099 | 17942.5882 | 228.9468 | 36677.3032 |  | 2083.9
104.28 | 413.1 | 493.9231 | 6532.3752 | 203.9684 | 43736.0191 |  | 2004.5802
109.2 | 401.77 | 440.8496 | 1527.2133 | 182.0514 | 48276.2664 |  | 4568.3268
121.55 | 338.04 | 331.4106 | 43.9488 | 136.8579 | 40474.2223 | To -> ∞ | 93704.688
|  |  | ∑ [(Measured -Expected)^2] |  | ∑ [(Measured -Expected)^2]
|  |  | 10967853.5362 |  | 15187376.1222 |  |  | 15187376.1222
3
|  | Mono -exp Ã MBqhr |  | Bi-exp Ã MBqhr |  |  | Trapezoid Ã MBqhr | TRUE
|  | 237917.9439 |  | 107538.0881 |  |  | 256939.8547 | TRUE
TRUE
Mass kg | 80 | S factor Gy. MBq-1.hr-1 | 2.3679e-06 |  |  |  |  | TRUE
32767
|  | Dose Mono Gy |  | Dose Biexp Gy |  |  | Dose Trapezoid Gy | 0
|  | 0.56336 |  | 0.25464 |  |  | 0.6084
𝐴_𝑡=𝐴_0 𝑒^(−(𝑙𝑛(2)∙𝑡)/𝜏)
𝐴_𝑡=(𝑓∙𝑒^(−(𝑙𝑛(2)∙𝑡)/𝜏_1 )+(1−𝑓)∙𝑒^(−(𝑙𝑛(2)∙𝑡)/𝜏_2 ) )

## Case 1 - 24 hour sampling
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation | [6 empty] | 131I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  | Biexponential Fit Parameters |  |  | 192.5
|  | A0 (MBq) | Teff (hours) | A0 (MBq) | Teff1 (hours)
|  | 5495.91 | 30 | 5495.91 | 2
|  |  |  | Teff2 (hours) | f
|  |  |  | 30 | 0.5
Raw A -T Data |  | Mono-exponential fit curve |  | Bi-exponential fit curve |  |  | Trapezoid Integration
Time | Measured Activity | Expected Activity | (Measured -Expected)^2 | Expected Activity | (Measured -Expected)^2 |  | Trapezoid Ã
0 | 5495.91 | 5495.91 | 0 | 5495.91 | 0 |  | 95970.927
25.22 | 2114.79 | 3068.8363 | 910204.4309 | 1534.8577 | 336321.4304 |  | 36581.6588
47.97 | 1101.18 | 1814.2313 | 508442.1194 | 907.1158 | 37660.9127 |  | 22836.4223
74.28 | 634.77 | 987.8462 | 124662.818 | 493.9231 | 19837.8462 |  | 10782.2434
93.62 | 480.25 | 631.8665 | 22987.5667 | 315.9333 | 26999.9923 |  | 11427.4199
121.55 | 338.04 | 331.4106 | 43.9488 | 165.7053 | 29699.2464 | To -> ∞ | 14603.328
|  |  | ∑ [(Measured -Expected)^2] |  | ∑ [(Measured -Expected)^2]
|  |  | 1566340.8838 |  | 450519.4281
|  | Mono -exp Ã |  | Bi-exp Ã |  |  | Trapezoid Ã
|  | 237917.9439 |  | 126862.7536 |  |  | 192201.9993
Mass kg | 80 | S factor Gy. MBq-1.hr-1 | 2.3679e-06 |  |  |  |  | TRUE
32767
|  | Dose Mono Gy |  | Dose Biexp Gy |  |  | Dose Trapezoid Gy | 0
|  | 0.56336 |  | 0.3004 |  |  | 0.45511

## Case 1 - Fit Comparsions
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Mono-exponential Fit Parameters (All Points) |  |  | Mono-exponential Fit Parameters (24 hour interval)
A0 (MBq) | Teff (hours) : All Points |  | A0 (MBq) | Teff (hours): 24 hour interval
0 | 30 |  | 0 | 30
| Mono -exp Ã : All Points |  |  | Mono -exp Ã : 24 hour sampling
| 237917.9439 |  |  | 237917.9439
Biexponential Fit Parameters (All Points)
A0 (MBq) | Teff1 (hours) All Points | Teff2 (hours) All Points | f All Points
5495.91 | 2 | 30 | 0.58704
Biexponential Fit Parameters (24 hour interval)
A0 (MBq) | Teff1 (hours) 24 hour interval | Teff2 (hours) 2erval | f 24 hour interval
5495.91 | 2 | 30 | 0.5
Bi-exp Ã All Points |  | Bi-exp Ã 24 hour interval
107538.0881 |  | 126862.7536

## Case 2 - full
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation | [6 empty] | 131I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  | Biexponential Fit Parameters |  |  | 192.5
|  | A0 (MBq) | Teff (hours) | A0 (MBq) | Teff1 (hours)
|  | 5823.05 | 30 | 5823.05 | 2
|  |  |  | Teff2 (hours) | f
|  |  |  | 30 | 0.5
Raw A -T Data |  | Mono-exponential fit curve |  | Bi-exponential fit curve |  |  | Trapezoid Integration
Time | Measured Activity | Expected Activity | (Measured -Expected)^2 | Expected Activity | (Measured -Expected)^2 |  | Trapezoid Ã
0 | 5823.05 | 5823.05 | 0 | 5823.05 | 0 |  | 30180.9087
5.58 | 4994.48 | 5118.6913 | 15428.4508 | 2980.3115 | 4056874.8344 |  | 50116.8558
19 | 2474.5 | 3754.0339 | 1637206.9687 | 1881.038 | 352197.1959 |  | 14307.0585
25.58 | 1874.15 | 3224.5735 | 1823643.5428 | 1612.6978 | 68357.2354 |  | 6906.5664
29.42 | 1723.02 | 2950.8045 | 1507454.7737 | 1475.5109 | 61260.7625 |  | 16636.0513
41.67 | 993.07 | 2223.4115 | 1513740.3029 | 1111.7073 | 14074.8151 |  | 3954.496
45.83 | 908.13 | 2019.6543 | 1235486.1728 | 1009.8275 | 10342.3808 |  | 2451.1648
48.75 | 770.75 | 1887.8904 | 1248002.6558 | 943.9453 | 29996.6223 |  | 10283.7504
66.67 | 376.99 | 1247.8475 | 758392.8467 | 623.9238 | 60976.2857 |  | 722.3333
68.58 | 379.38 | 1193.977 | 663568.2197 | 596.9885 | 47353.4523 | To -> ∞ | 16389.216
|  |  | ∑ [(Measured -Expected)^2] |  | ∑ [(Measured -Expected)^2]
|  |  | 10402923.9339 |  | 4701433.5845
|  | Mono -exp Ã |  | Bi-exp Ã |  |  | Trapezoid Ã
|  | 252079.8345 |  | 134414.1657 |  |  | 151948.4012
Mass kg | 80 | S factor Gy. MBq-1.hr-1 | 2.3679e-06 |  |  |  |  | TRUE
32767
|  | Dose Mono Gy |  | Dose Biexp Gy |  |  | Dose Trapezoid Gy | 0
|  | 0.59689 |  | 0.31828 |  |  | 0.35979

## Case 2 - 24 hours
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation | [6 empty] | 131I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  | Biexponential Fit Parameters |  |  | 192.5
|  | A0 (MBq) | Teff (hours) | A0 (MBq) | Teff1 (hours)
|  | 5823.05 | 30 | 5823.05 | 2
|  |  |  | Teff2 (hours) | f
|  |  |  | 30 | 0.5
Raw A -T Data |  | Mono-exponential fit curve |  | Bi-exponential fit curve |  |  | Trapezoid Integration
Time | Measured Activity | Expected Activity | (Measured -Expected)^2 | Expected Activity | (Measured -Expected)^2 |  | Trapezoid Ã
0.05 | 5823.05 | 5823.05 | 0 | 5823.05 | 0 |  | 98447.188
25.63 | 1874.15 | 3224.5735 | 1823643.5428 | 1612.6978 | 68357.2354 |  | 30641.1665
48.8 | 770.75 | 1887.8904 | 1248002.6558 | 943.9453 | 29996.6223 |  | 11403.539
68.63 | 379.38 | 1193.977 | 663568.2197 | 596.9885 | 47353.4523 | To -> ∞ | 105164.136
|  |  | ∑ [(Measured -Expected)^2] |  | ∑ [(Measured -Expected)^2]
|  |  | 3735214.4183 |  | 145707.31
|  | Mono -exp Ã |  | Bi-exp Ã |  |  | Trapezoid Ã
|  | 252079.8345 |  | 134414.1657 |  |  | 245656.0295
Mass kg | 80 | S factor Gy. MBq-1.hr-1 | 2.3679e-06 |  |  |  |  | TRUE
32767
|  | Dose Mono Gy |  | Dose Biexp Gy |  |  | Dose Trapezoid Gy | 0
|  | 0.59689 |  | 0.31828 |  |  | 0.58168

## Case 2 - Fit Comparsions
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
| Mono-exponential Fit Parameters (All Points) |  |  | Mono-exponential Fit Parameters (24 hour interval)
| A0 (MBq) | Teff (hours) : All Points |  | A0 (MBq) | Teff (hours): 24 hour interval
| 0 | 30 |  | 0 | 30
|  | Mono -exp Ã : All Points |  |  | Mono -exp Ã : 24 hour sampling
|  | 252079.8345 |  |  | 252079.8345
Biexponential Fit Parameters (All Points)
| A0 (MBq) | Teff1 (hours) All Points | Teff2 (hours) All Points | f All Points
| 5495.91 | 2 | 30 | 0.5
Biexponential Fit Parameters (24 hour interval)
| A0 (MBq) | Teff1 (hours) 24 hour interval | Teff2 (hours) 2erval | f 24 hour interval
| 5495.91 | 2 | 30 | 0.5
| Bi-exp Ã All Points |  | Bi-exp Ã 24 hour interval
| 134414.1657 |  | 134414.1657

## Case 3 - full
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation | [6 empty] | 131I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  | Biexponential Fit Parameters |  |  | 192.5
|  | A0 (MBq) | Teff (hours) | A0 (MBq) | Teff1 (hours)
|  | 5728.01 | 30 | 5728.01 | 2
|  |  |  | Teff2 (hours) | f
|  |  |  | 30 | 0.5
Raw A -T Data |  | Mono-exponential fit curve |  | Bi-exponential fit curve |  |  | Trapezoid Integration
Time | Measured Activity | Expected Activity | (Measured -Expected)^2 | Expected Activity | (Measured -Expected)^2 |  | Trapezoid Ã
0 | 5728.01 | 5728.01 | 0 | 5728.01 | 0 |  | 4716.8498
0.85 | 5370.46 | 5616.6141 | 60591.8308 | 4941.5289 | 183981.8962 |  | 7474.1025
2.35 | 4595.01 | 5425.2916 | 689367.51 | 3981.0671 | 376925.8916 |  | 11142.4474
5.01 | 3782.77 | 5101.8978 | 1740098.2625 | 3055.4866 | 528941.0974 |  | 5960.7393
6.68 | 3355.84 | 4908.7896 | 2411652.5998 | 2737.2301 | 382678.2011 |  | 35502.9773
19.03 | 2393.63 | 3690.2043 | 1681104.8346 | 1849.0166 | 296603.7468 |  | 9084.465
23.53 | 1643.91 | 3325.7983 | 2828748.2686 | 1663.7221 | 392.5181 |  | 4055.4462
26.3 | 1284.21 | 3119.6136 | 3368706.3655 | 1560.1219 | 76127.3682 |  | 5440.7852
31.18 | 945.62 | 2786.9762 | 3390592.6244 | 1393.5462 | 200637.8457 |  | 7585.6532
40.35 | 708.83 | 2254.854 | 2390190.1512 | 1127.4294 | 175225.4661 |  | 3114.5565
45.41 | 522.22 | 2006.0636 | 2201791.8247 | 1003.0322 | 231180.3891 |  | 2293.7205
50.6 | 361.68 | 1779.371 | 2009847.7708 | 889.6856 | 278789.8811 |  | 1469.1724
55.18 | 279.88 | 1600.6975 | 1744558.8243 | 800.3488 | 270887.7258 |  | 2226.0875
64.68 | 188.77 | 1285.2366 | 1202239.0846 | 642.6183 | 205978.2964 |  | 240.5637
66.01 | 172.98 | 1246.3426 | 1152107.2356 | 623.1713 | 202672.1995 | To -> ∞ | 7472.736
|  |  | ∑ [(Measured -Expected)^2] |  | ∑ [(Measured -Expected)^2]
|  |  | 26871597.1872 |  | 3411022.5231
|  | Mono -exp Ã |  | Bi-exp Ã |  |  | Trapezoid Ã
|  | 247965.5529 |  | 132220.3459 |  |  | 107780.3026
Mass kg | 50 | S factor Gy. MBq-1.hr-1 | 3.6505e-06 |  |  |  |  | TRUE
32767
|  | Dose Mono Gy |  | Dose Biexp Gy |  |  | Dose Trapezoid Gy | 0
|  | 0.9052 |  | 0.48267 |  |  | 0.39345

## Case 3 - 24 hour
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation | [6 empty] | 131I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  | Biexponential Fit Parameters |  |  | 192.5
|  | A0 (MBq) | Teff (hours) | A0 (MBq) | Teff1 (hours)
|  | 5728.01 | 30 | 5728.01 | 2
|  |  |  | Teff2 (hours) | f
|  |  |  | 30 | 0.5
Raw A -T Data |  | Mono-exponential fit curve |  | Bi-exponential fit curve |  |  | Trapezoid Integration
Time | Measured Activity | Expected Activity | (Measured -Expected)^2 | Expected Activity | (Measured -Expected)^2 |  | Trapezoid Ã
0.02 | 5728.01 | 5728.01 | 0 | 5728.01 | 0 |  | 86730.6388
23.55 | 1643.91 | 3325.7983 | 2828748.2686 | 1663.7221 | 392.5181 |  | 27145.6606
50.62 | 361.68 | 1779.371 | 2009847.7708 | 889.6856 | 278789.8811 | To -> ∞ | 15624.576
|  |  | ∑ [(Measured -Expected)^2] |  | ∑ [(Measured -Expected)^2]
|  |  | 4838596.0393 |  | 279182.3992
|  | Mono -exp Ã |  | Bi-exp Ã |  |  | Trapezoid Ã
|  | 247965.5529 |  | 132220.3459 |  |  | 129500.8754
Mass kg | 80 | S factor Gy. MBq-1.hr-1 | 2.3679e-06 |  |  |  |  | TRUE
32767
|  | Dose Mono Gy |  | Dose Biexp Gy |  |  | Dose Trapezoid Gy | 0
|  | 0.58715 |  | 0.31308 |  |  | 0.30664

## Case 3 - Fit Comparsions
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
| Mono-exponential Fit Parameters (All Points) |  |  | Mono-exponential Fit Parameters (24 hour interval)
| A0 (MBq) | Teff (hours) : All Points |  | A0 (MBq) | Teff (hours): 24 hour interval
| 0 | 30 |  | 0 | 30
|  | Mono -exp Ã : All Points |  |  | Mono -exp Ã : 24 hour sampling
|  | 247965.5529 |  |  | 247965.5529
Biexponential Fit Parameters (All Points)
| A0 (MBq) | Teff1 (hours) All Points | Teff2 (hours) All Points | f All Points
| 5495.91 | 2 | 30 | 0.5
Biexponential Fit Parameters (24 hour interval)
| A0 (MBq) | Teff1 (hours) 24 hour interval | Teff2 (hours) 2erval | f 24 hour interval
| 5495.91 | 2 | 30 | 0.5
| Bi-exp Ã All Points |  | Bi-exp Ã 24 hour interval
| 132220.3459 |  | 132220.3459

## Case 4 - full
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation | [6 empty] | 131I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  | Biexponential Fit Parameters |  |  | 192.5
|  | A0 (MBq) | Teff (hours) | A0 (MBq) | Teff1 (hours)
|  | 3816.18 | 30 | 3816.18 | 0.5
|  |  |  | Teff2 (hours) | f
|  |  |  | 30 | 0
Raw A -T Data |  | Mono-exponential fit curve |  | Bi-exponential fit curve |  |  | Trapezoid Integration
Time | Measured Activity | Expected Activity | (Measured -Expected)^2 | Expected Activity | (Measured -Expected)^2 |  | Trapezoid Ã
0 | 3816.18 | 3816.18 | 0 | 3816.18 | 0 |  | 9384.3945
2.47 | 3782.52 | 3604.4919 | 31694.0214 | 3604.4919 | 31694.0214 |  | 9401.7077
5 | 3649.66 | 3399.8299 | 62415.0938 | 3399.8299 | 62415.0938 |  | 7654.6967
7.17 | 3405.36 | 3233.5731 | 29510.7419 | 3233.5731 | 29510.7419 |  | 31031.9398
17.5 | 2602.76 | 2546.9946 | 3109.7824 | 2546.9946 | 3109.7824 |  | 5054.949
19.52 | 2402.14 | 2430.8528 | 824.4269 | 2430.8528 | 824.4269 |  | 9269.7506
23.59 | 2153.02 | 2212.6816 | 3559.5107 | 2212.6816 | 3559.5107 |  | 5882.5756
26.52 | 1862.39 | 2067.8467 | 42212.4474 | 2067.8467 | 42212.4474 |  | 8551.9332
31.34 | 1686.13 | 1849.9196 | 26827.0264 | 1849.9196 | 26827.0264 |  | 13669.4997
41.17 | 1095.05 | 1474.0607 | 143649.0751 | 1474.0607 | 143649.0751 |  | 2235.555
43.27 | 1034.05 | 1404.2462 | 137045.2187 | 1404.2462 | 137045.2187 |  | 4172.8606
47.7 | 849.86 | 1267.6261 | 174528.4788 | 1267.6261 | 174528.4788 |  | 2083.032
50.22 | 803.34 | 1195.9269 | 154124.4823 | 1195.9269 | 154124.4823 |  | 3956.832
55.5 | 695.46 | 1058.5792 | 131855.5585 | 1058.5792 | 131855.5585 |  | 6910.272
67.02 | 504.24 | 811.1998 | 94224.3256 | 811.1998 | 94224.3256 | To -> ∞ | 21783.168
|  |  | ∑ [(Measured -Expected)^2] |  | ∑ [(Measured -Expected)^2]
|  |  | 1035580.1897 |  | 1035580.1897
|  | Mono -exp Ã |  | Bi-exp Ã |  |  | Trapezoid Ã
|  | 165202.4322 |  | 165167.5188 |  |  | 141043.1665
Mass kg | 80 | S factor Gy. MBq-1.hr-1 | 2.3679e-06 |  |  |  |  | TRUE
32767
|  | Dose Mono Gy |  | Dose Biexp Gy |  |  | Dose Trapezoid Gy | 0
|  | 0.39118 |  | 0.3911 |  |  | 0.33397

## Case 4 - Peak removed
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation | [6 empty] | 131I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  | Biexponential Fit Parameters |  |  | 192.5
|  | A0 (MBq) | Teff (hours) | A0 (MBq) | Teff1 (hours)
|  | 3649.66 | 30 | 3649.66 | 2
|  |  |  | Teff2 (hours) | f
|  |  |  | 30 | 0
Raw A -T Data |  | Mono-exponential fit curve |  | Bi-exponential fit curve |  |  | Trapezoid Integration
Time | Measured Activity | Expected Activity | (Measured -Expected)^2 | Expected Activity | (Measured -Expected)^2 |  | Trapezoid Ã
0 | 3816.18 | Trapezoid Integration |  | Trapezoid Integration |  |  | 9384.3945
2.47 | 3782.52 | Trapezoid Integration |  | Trapezoid Integration |  |  | 9401.7077
5 | 3649.66 | 3649.66 | 0 | 3649.66 | 0 |  | 7654.6967
7.17 | 3405.36 | 3471.1862 | 4333.0825 | 3471.1862 | 4333.0825 |  | 31031.9398
17.5 | 2602.76 | 2734.1557 | 17264.8308 | 2734.1557 | 17264.8308 |  | 5054.949
19.52 | 2402.14 | 2609.4795 | 42989.6694 | 2609.4795 | 42989.6694 |  | 9269.7506
23.59 | 2153.02 | 2375.2764 | 49397.9074 | 2375.2764 | 49397.9074 |  | 5882.5756
26.52 | 1862.39 | 2219.7985 | 127740.8502 | 2219.7985 | 127740.8502 |  | 8551.9332
31.34 | 1686.13 | 1985.8575 | 89836.5472 | 1985.8575 | 89836.5472 |  | 13669.4997
41.17 | 1095.05 | 1582.3792 | 237489.7872 | 1582.3792 | 237489.7872 |  | 2235.555
43.27 | 1034.05 | 1507.4346 | 224092.9704 | 1507.4346 | 224092.9704 |  | 4172.8606
47.7 | 849.86 | 1360.7752 | 261034.3252 | 1360.7752 | 261034.3252 |  | 2083.032
50.22 | 803.34 | 1283.8074 | 230848.8835 | 1283.8074 | 230848.8835 |  | 3956.832
55.5 | 695.46 | 1136.3669 | 194398.9096 | 1136.3669 | 194398.9096 |  | 6910.272
67.02 | 504.24 | 870.8093 | 134373.0588 | 870.8093 | 134373.0588 | To -> ∞ | 21783.168
|  |  | ∑ [(Measured -Expected)^2] |  | ∑ [(Measured -Expected)^2]
|  |  | 1613800.8222 |  | 1613800.8222
|  | Mono -exp Ã |  | Bi-exp Ã |  |  | Trapezoid Ã
|  | 176779.8836 |  | 176746.4937 |  |  | 141043.1665
Mass kg | 80 | S factor Gy. MBq-1.hr-1 | 2.3679e-06 |  |  |  |  | TRUE
32767
|  | Dose Mono Gy |  | Dose Biexp Gy |  |  | Dose Trapezoid Gy | 0
|  | 0.41859 |  | 0.41851 |  |  | 0.33397

## Case 4 - Fit Comparsions
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
| Mono-exponential Fit Parameters (All Points) |  |  | Mono-exponential Fit Parameters (Peak Removed)
| A0 (MBq) | Teff (hours) : All Points |  | A0 (MBq) | Teff (hours): Peak Removed
| 0 | 30 |  | 0 | 30
|  | Mono -exp Ã : All Points |  |  | Mono -exp Ã : Peak Removed
|  | 165202.4322 |  |  | 176779.8836
Biexponential Fit Parameters (All Points)
| A0 (MBq) | Teff1 (hours) All Points | Teff2 (hours) All Points | f All Points
| 5495.91 | 0.5 | 30 | 0
Biexponential Fit Parameters (Peak Removed)
| A0 (MBq) | Teff1 (hours) Peak Removed | Teff2 (hours) Peak Removed | f Peak Removed
| 5495.91 | 2 | 30 | 0
| Bi-exp Ã All Points |  | Bi-exp Ã Peak Removed
| 165167.5188 |  | 176746.4937

## Case 5 - Isotope Change
THIS SPREADSHEET IS FOR TRAINING PURPOSES ONLY AND SHOULD NOT BE USED FOR CLINICAL WORK
Methods of Cumulative Activity (Ã) Estimation |  |  |  |  | 123I Tphys (Hours)
|  | Mono-exponential Fit Parameters |  |  | 13.1
|  | A0 (MBq) | Teff (hours)
|  | 397.4793 | 7 |  | 131I Tphys (Hours)
192.96
400MBq I123 mIBG tracer administered to establish suitability and safety of proposed I131 mIBG MRT.
Raw A -T Data |  | Mono-exponential fit curve
Time (hrs) | Measured Activity (MBq) | Expected Activity | (Measured -Expected)^2
0.16667 | 397.4793 | 397.4793 | 0
2 | 280.8594 | 331.4922 | 2563.6752
4.0667 | 203.1129 | 270.1455 | 4493.375
5.4667 | 173.9579 | 235.1753 | 3747.5718
21.6667 | 34.0141 | 47.2849 | 176.1133
25.5833 | 26.2395 | 32.084 | 34.159
29.6167 | 18.4648 | 21.5198 | 9.333
46.5833 | 4.8592 | 4.0105 | 0.72022 | To -> ∞
∑ [(Measured -Expected)^2]
11024.9475
Mono -exp Ã
4014.938
What is the expected WB dose from 7,400MBq I131 mIBG, based on the tracer measurements?
1) Convert Effective Half Life (I123) to Effective Half Life (I131): 1/Teff = 1/Tbio + 1/Tphys
Tbio (hours)
|  | 15.0328 | use teffI123 and Tphys I123
Teff (hours)
|  | 13.9463 | Use Tbio and Tphy I131
2) Establish new A(0) point
A0 (MBq)
7400
3) Calculate new Cumulative Activity (MBq.hr)
Mono -exp Ã
148921.214
Mass kg | 80 | S factor Gy. MBq-1.hr-1 | 2.3679e-06
Dose Mono Gy
0.35263