## 2D example
Simulated SPECT image | [23 empty] | Dose map
1.5587 | 1.935 | 1.948 | 1.9278 | 1.9293 | 1.8284 | 1.6764 | 1.7127 | 2.026 | 2.2839 | 2.165 | 1.8947 | 1.8921 | 2.1199 | 2.1639 | 1.9172 | 1.6437 | 1.5201 | 1.5007 | 1.547 | 1.7459 | 1.9977 | 2.0174 | 1.589 | #DIV/0!
1.8874 | 2.4431 | 2.5099 | 2.4928 | 2.5599 | 2.4919 | 2.2721 | 2.3343 | 2.8665 | 3.3726 | 3.4275 | 3.3003 | 3.4317 | 3.6887 | 3.6929 | 3.4027 | 3.0204 | 2.6969 | 2.4849 | 2.4346 | 2.5873 | 2.7241 | 2.561 | 1.9354
1.8755 | 2.5798 | 2.7198 | 2.7116 | 2.9084 | 3.157 | 3.4199 | 4.1897 | 5.4408 | 6.3982 | 6.8296 | 7.0862 | 7.3574 | 7.4334 | 7.2854 | 7.0652 | 6.6323 | 5.7706 | 4.6937 | 3.8678 | 3.4346 | 3.1018 | 2.6231 | 1.8485
1.8619 | 2.6358 | 2.8076 | 2.8699 | 3.5047 | 4.9068 | 6.9527 | 9.7654 | 12.6077 | 14.2591 | 15.0949 | 15.8167 | 16.2197 | 16.0713 | 15.8069 | 15.745 | 15.2433 | 13.3595 | 10.349 | 7.4454 | 5.2611 | 3.705 | 2.6377 | 1.6883
1.9866 | 2.778 | 3.0468 | 3.5863 | 5.5822 | 9.5387 | 14.6388 | 19.872 | 23.8356 | 25.4838 | 26.2005 | 27.145 | 27.6431 | 27.4643 | 27.3246 | 27.5416 | 27.2956 | 25.0463 | 20.5602 | 15.1163 | 9.7813 | 5.5561 | 3.0966 | 1.7154
2.1487 | 3.0057 | 3.7211 | 5.6913 | 10.3221 | 17.3913 | 24.7651 | 30.5577 | 33.6471 | 34.0457 | 34.0482 | 35.0043 | 35.7099 | 35.6867 | 35.6976 | 36.1627 | 36.6097 | 35.5247 | 31.8539 | 25.5563 | 17.1644 | 9.2031 | 4.3092 | 2.0422
2.1799 | 3.2435 | 4.9977 | 9.5268 | 17.4192 | 26.2549 | 33.1498 | 37.2226 | 38.5127 | 37.796 | 37.4025 | 38.5394 | 39.654 | 39.6531 | 39.3234 | 39.6314 | 40.4628 | 40.679 | 38.903 | 33.6861 | 24.1168 | 13.2155 | 5.8385 | 2.537
2.101 | 3.5736 | 6.8237 | 14.0767 | 24.1981 | 32.7993 | 37.6941 | 39.8408 | 40.1322 | 39.3162 | 39.0121 | 40.2678 | 41.7041 | 41.6274 | 40.719 | 40.5541 | 41.1066 | 41.5032 | 40.6307 | 36.528 | 27.1766 | 15.2203 | 6.6457 | 2.814
2.0571 | 4.2031 | 9.2354 | 18.4448 | 28.7858 | 35.9099 | 39.3489 | 40.7438 | 40.8981 | 40.2512 | 39.7623 | 40.6203 | 42.0784 | 42.1678 | 41.1169 | 40.5657 | 40.6481 | 40.7326 | 39.7685 | 35.7062 | 26.5718 | 14.8934 | 6.5104 | 2.7803 | [16 empty] | tumour | [6 empty] | normal liver
2.0737 | 5.0706 | 11.9755 | 22.496 | 31.9318 | 37.2812 | 39.8798 | 41.1907 | 41.5365 | 40.9697 | 40.1159 | 40.3109 | 41.4127 | 41.6751 | 40.8415 | 40.0954 | 39.8945 | 39.8174 | 38.2161 | 32.9553 | 23.4928 | 12.953 | 5.8547 | 2.6679
2.0452 | 5.6449 | 13.8316 | 25.2796 | 34.4354 | 39.3601 | 42.0948 | 43.2105 | 42.832 | 41.665 | 40.453 | 40.0889 | 40.6201 | 40.7602 | 39.8031 | 38.4443 | 37.6572 | 37.0607 | 34.1756 | 27.1851 | 17.7588 | 9.55 | 4.7407 | 2.4821 | [8 empty] | 20 | #DIV/0! | 1 | 0 | #DIV/0! | 20 | #DIV/0! |  | 0 |  | 0 |  | #DIV/0! | 20 | #DIV/0! |  | 0 | 270 | 0%
1.9986 | 5.7934 | 14.5109 | 26.9053 | 37.8469 | 46.0535 | 51.9273 | 52.5576 | 48.3033 | 43.6162 | 40.7695 | 39.6803 | 39.6965 | 39.2341 | 36.7945 | 33.1234 | 30.4636 | 28.7282 | 25.0026 | 18.1235 | 10.785 | 5.8587 | 3.4376 | 2.1183 | [8 empty] | 19 | #DIV/0! | 1 |  | #DIV/0! | 19 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 19 | #DIV/0! |  | 0 |  | 0%
2.1273 | 6.0658 | 15.2867 | 29.5047 | 45.6335 | 63.3507 | 77.7831 | 77.7581 | 64.122 | 49.8512 | 41.8548 | 38.5854 | 37.2691 | 35.4034 | 30.6816 | 24.0527 | 19.2032 | 16.7153 | 13.7935 | 9.5015 | 5.6274 | 3.491 | 2.4976 | 1.7069 | [8 empty] | 18 | #DIV/0! | 1 |  | #DIV/0! | 18 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 18 | #DIV/0! |  | 0 |  | 0%
2.3474 | 6.5315 | 16.6864 | 34.2589 | 59.4681 | 91.5888 | 117.017 | 115.95 | 90.2353 | 61.7578 | 44.4889 | 36.1456 | 31.3097 | 27.3201 | 21.7875 | 14.9531 | 10.0876 | 7.9676 | 6.4687 | 4.7368 | 3.3579 | 2.6029 | 2.0684 | 1.4308 | [8 empty] | 17 | #DIV/0! | 1 |  | #DIV/0! | 17 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 17 | #DIV/0! |  | 0 |  | 0%
2.4336 | 6.7839 | 18.0177 | 39.6402 | 74.7626 | 119.353 | 151.495 | 149.083 | 115.08 | 74.3616 | 47.2258 | 32.5988 | 23.2509 | 17.1807 | 12.5998 | 8.3702 | 5.5937 | 4.5081 | 3.8773 | 3.2358 | 2.8001 | 2.4519 | 1.952 | 1.303 | [8 empty] | 16 | #DIV/0! | 1 |  | #DIV/0! | 16 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 16 | #DIV/0! |  | 0 |  | 0%
2.5031 | 6.786 | 18.3937 | 42.2209 | 82.6679 | 132.274 | 165.57 | 162.429 | 125.81 | 79.5332 | 47.089 | 28.8575 | 16.981 | 9.9254 | 6.5366 | 4.7595 | 3.921 | 3.6621 | 3.3593 | 2.9476 | 2.7051 | 2.4517 | 1.9524 | 1.2836 | [8 empty] | 15 | #DIV/0! | 1 |  | #DIV/0! | 15 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 15 | #DIV/0! |  | 0 |  | 0%
2.6839 | 6.7415 | 17.5303 | 39.6365 | 76.6883 | 121.609 | 152.395 | 150.125 | 115.939 | 72.3534 | 41.4977 | 23.8235 | 12.6237 | 6.3694 | 4.0054 | 3.3955 | 3.4212 | 3.5095 | 3.2876 | 2.8907 | 2.6467 | 2.4251 | 1.9843 | 1.3384 | [8 empty] | 14 | #DIV/0! | 1 |  | #DIV/0! | 14 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 14 | #DIV/0! |  | 0 |  | 0%
2.8206 | 6.5184 | 15.5872 | 32.793 | 59.0477 | 90.3533 | 113.696 | 113.024 | 87.1266 | 54.3125 | 30.7494 | 16.8319 | 8.6531 | 4.5327 | 3.1568 | 2.9413 | 3.1392 | 3.2971 | 3.1671 | 2.871 | 2.6402 | 2.4271 | 2.0339 | 1.3913 | [8 empty] | 13 | #DIV/0! | 1 |  | #DIV/0! | 13 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 13 | #DIV/0! |  | 0 |  | 0%
2.7642 | 5.7424 | 12.4385 | 24.1295 | 39.2379 | 55.4017 | 67.788 | 67.157 | 51.9581 | 32.9721 | 18.8395 | 10.1884 | 5.5861 | 3.5461 | 2.8638 | 2.7173 | 2.834 | 2.9974 | 3.0559 | 2.9814 | 2.8398 | 2.6377 | 2.2044 | 1.4534 | [8 empty] | 12 | #DIV/0! | 1 |  | #DIV/0! | 12 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 12 | #DIV/0! |  | 0 |  | 0%
2.4792 | 4.4884 | 8.4733 | 15.2942 | 23.0844 | 29.5829 | 33.4588 | 31.8724 | 24.64 | 16.2783 | 9.8978 | 5.8598 | 3.8519 | 3.0544 | 2.7528 | 2.6105 | 2.6264 | 2.8173 | 3.0695 | 3.2082 | 3.2152 | 3.0627 | 2.5236 | 1.5843 | [8 empty] | 11 | #DIV/0! | 1 |  | #DIV/0! | 11 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 11 | #DIV/0! |  | 0 |  | 0%
2.1481 | 3.4013 | 5.2002 | 8.2164 | 11.6088 | 13.8034 | 14.2473 | 12.7271 | 9.8395 | 7.1064 | 5.1027 | 3.7618 | 3.1019 | 2.8968 | 2.8136 | 2.6806 | 2.6292 | 2.8251 | 3.1192 | 3.3229 | 3.4631 | 3.388 | 2.7807 | 1.7336 | [8 empty] | 10 | #DIV/0! | 1 |  | #DIV/0! | 10 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 10 | #DIV/0! |  | 0 |  | 0%
1.9816 | 2.8347 | 3.517 | 4.4659 | 5.5827 | 6.2193 | 6.0143 | 5.173 | 4.2283 | 3.605 | 3.2357 | 2.9668 | 2.8679 | 2.9141 | 2.9176 | 2.8037 | 2.7507 | 2.8886 | 3.0433 | 3.1429 | 3.304 | 3.293 | 2.7609 | 1.8115 | [8 empty] | 9 | #DIV/0! | 1 |  | #DIV/0! | 9 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 9 | #DIV/0! |  | 0 |  | 0%
1.8408 | 2.5211 | 2.8742 | 3.1459 | 3.4382 | 3.6526 | 3.5641 | 3.1767 | 2.7489 | 2.5309 | 2.4972 | 2.4866 | 2.5614 | 2.7311 | 2.811 | 2.7618 | 2.7186 | 2.7398 | 2.725 | 2.6913 | 2.7903 | 2.8344 | 2.4947 | 1.766 | [8 empty] | 8 | #DIV/0! | 1 |  | #DIV/0! | 8 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 8 | #DIV/0! |  | 0 |  | 0%
1.4042 | 1.9419 | 2.2296 | 2.3505 | 2.4054 | 2.4953 | 2.5044 | 2.3367 | 2.0647 | 1.8771 | 1.8264 | 1.7871 | 1.8249 | 1.9963 | 2.1446 | 2.1805 | 2.1318 | 2.0668 | 1.9981 | 1.9353 | 1.9881 | 2.0624 | 1.8984 | 1.4098 | [8 empty] | 7 | #DIV/0! | 1 |  | #DIV/0! | 7 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 7 | #DIV/0! |  | 0 |  | 0%
[32 empty] | 6 | #DIV/0! | 1 |  | #DIV/0! | 6 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 6 | #DIV/0! |  | 0 |  | 0%
[32 empty] | 5 | #DIV/0! | 1 |  | #DIV/0! | 5 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 5 | #DIV/0! |  | 0 |  | 0%
Partition Model | [23 empty] | Voxel Dosimetry: LDM |  |  |  | Voxel size | 11 |  |  | 4 | #DIV/0! | 1 |  | #DIV/0! | 4 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 4 | #DIV/0! |  | 0 |  | 0%
[32 empty] | 3 | #DIV/0! | 1 |  | #DIV/0! | 3 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 3 | #DIV/0! |  | 0 |  | 0%
Administered Activity | [5 empty] | 1250 |  | MBq | [23 empty] | 2 | #DIV/0! | 1 |  | #DIV/0! | 2 | #DIV/0! |  | 0 |  |  |  | #DIV/0! | 2 | #DIV/0! |  | 0 |  | 0%
[24 empty] | Total counts in liver |  |  |  | Maximum absorbed dose |  | #DIV/0! | Gy | 1 | #DIV/0! | 1 |  | #DIV/0! | 1 | 0 |  | 0 |  |  |  | #DIV/0! | 1 | 0 |  | 0 |  | 0%
Mass of whole liver | [5 empty] | 1783 |  | g |  |  |  | Mean counts from normal liver | [19 empty] | 0 | 0 | 0 |  | #DIV/0! | 0 | 0 |  | 0 |  |  |  | #DIV/0! | 0 | 0 |  | 0 |  | 0%
Mass of tumour | [5 empty] | 250 |  | g |  |  |  | Mean counts from tumour | [11 empty] | Calibration Factor |  | #DIV/0! | MBq/counts
Lung shunt | [5 empty] | 1 |  | %
[25 empty] | Mean absorbed dose to normal liver |  |  | Gy | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
Tumour to Normal liver ratio | [7 empty] | #DIV/0! | [16 empty] | Mean absorbed dose to tumour |  |  | Gy | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
Mean absorbed dose to normal liver | [7 empty] | #DIV/0! |  | Gy | [27 empty] | 0 | 0 | 0 | 0 | 0 | 0
Mean absorbed dose to tumour | [7 empty] | #DIV/0! |  | Gy | [27 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0
[38 empty] | 0 | 0 | 0 | 0 | 0 | 0

## Patient partition model
No calibration factor needed
Activity administered | 1250 | MBq
Total liver mass | 2077.01 | g
Normal liver mass | 1773.57 | g
tumour mass | 303.44 | g
Information from Tc99m MAA scan
Normal Liver mean counts | Tumour mean counts | TNR | Lung shunt | Normal liver absorbed dose | Tumour absorbed dose
256 | 2158.69 | 8.4324 | 1 | 14.1623 | 119.422
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
Information from Y90 bremsstrahlung scan
Normal Liver mean counts | Tumour mean counts | TNR | Lung shunt | Normal liver absorbed dose | Tumour absorbed dose
268.7 | 906.13 | 3.3723 | 1 | 21.9372 | 73.9784
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0
|  |  | 1 | 34.5942 | 0

## Patient Voxel dosimetry
Activity administered | 1250 | MBq
Tc99m MAA |  | VDK |  |  |  | LDM
|  | Normal Liver | Tumour |  |  | Normal Liver | Tumour
Total counts in liver | Calibration Factor | Mean | Mean | Max | Min | Mean | Mean | Max | Min
10192242 | 0.00012264 | 13.93 | 115.44 | 377 | 36 | 13.71 | 119.36 | 437 | 43
11002243 | 0.00011361 | 12.87 | 106.9 | 349 | 33 | 12.69 | 110.54 | 404 | 40
10466405 | 0.00011943 | 13.55 | 112.4 | 367 | 35 | 13.37 | 116.22 | 425 | 42
11146416 | 0.00011214 | 12.7 | 105.52 | 345 | 33 | 12.51 | 109.1 | 399 | 40
11785161 | 0.00010607 | 11.98 | 99.77 | 326 | 31 | 11.81 | 103.16 | 378 | 37
Y90 brem |  | VDK |  |  |  | LDM
|  | Normal Liver | Tumour |  |  | Normal Liver | Tumour
Total counts in liver | Calibration Factor | Mean | Mean | Max | Min | Mean | Mean | Max | Min
7508634 | 0.00016648 | 19.64 | 66.13 | 120 | 34 | 19.75 | 67.79 | 132 | 39
9026534 | 0.00013848 | 16.26 | 54.92 | 100 | 29 | 16.34 | 56.31 | 110 | 33
8346432 | 0.00014976 | 17.62 | 59.46 | 108 | 31 | 17.73 | 60.95 | 119 | 35
9102046 | 0.00013733 | 16.12 | 54.48 | 99 | 28 | 16.21 | 55.84 | 109 | 32